FN 5839.04  2000mL.  Harvest.

Technicians __________   ____________   ___________   ___________    ___________

Remember to NA any of the lines that you are not using.

- The harvest does not really need to be sterile at this point, however you do want to be as clean as possible.   Your work area should be sanitized before and after you work.   You will want to use gloves while handling the culture and glassware.   Remember to dispose of all cultures accordingly.  (liquid culture is to be collected in one location and then autoclaved)  (Cell paste is to be soaked in 20mL sanisol for 10 minutes then rinsed out and the rinsate to be treated as excess culture)

Operator: date_______   Ver  ____________

- Using the peristaltic pump.   Pump 1L of media into 2 centrifuge flasks.  Balance the tubes to within 10 g of each other

Operator: date__________   Ver_________

- Centrifuge the cultures at 4000rpm for 30 minutes

Operator: date__________   Ver_________

- Pour of the liquid into a zip lock bag.   Fill out a label. Note lot number is from this ticket

Skyline Biotech fn816050

Spent Media: type__Amylase

Opr.____	Lot#___________

Date:________  Exp:_______

Store at: _____-80_________

Expiration date is 1 year from harvest

Place the bag on a level surface in a –20’C freezer.  Until completely frozen

Date and time in freezer    __________

Date and time out of freezer___________      Total time__________   Opp____ Ver____

After the harvest is frozen, place the bag in the –80’C freezer

Date_______ Time ________    Opp_________    Ver_________

Purpose:   This is our finished produce.   We will be isolating and purifying our product from this media.

Supervisor___________________________________